| SERVICE REPORT Report #: ____________________ | Work Order #: ____________________ Service Date: ____________________ | SERVICE STATUS ☐ Complete ☐ Pending ☐ Follow-up |
| --- | --- | --- |

📋  SECTION 1 — JOB & CUSTOMER INFORMATION

| Customer Name: ________________________ | Customer Phone / Email: ________________________ |
| --- | --- |
| Service Address: ________________________ | City / State / ZIP: ________________________ |
| Contact On-Site: ________________________ | Contact Phone: ________________________ |
| Lead Technician: ________________________ | Technician License #: ________________________ |
| Dispatcher: ________________________ | Service Agreement #: ________________________ |
| PO # (if required): ________________________ | Invoice #: ________________________ |

🏷️  SECTION 2 — EQUIPMENT INFORMATION

| Equipment Type: ________________________ | Equipment Location: ________________________ |
| --- | --- |
| Manufacturer: ________________________ | Model Number: ________________________ |
| Serial Number: ________________________ | Installation Year: ________________________ |
| Refrigerant Type: ________________________ | Nominal Capacity: ________________________ |
| Voltage / Phase / Hz: ________________________ | Controls / Thermostat: ________________________ |
| Service Agreement Type: ________________________ | Last Service Date: ________________________ |

💬  SECTION 3 — CUSTOMER COMPLAINT & ARRIVAL CONDITION

Customer Complaint (verbatim):

System Condition on Arrival (technician observation):

🔬  SECTION 4 — DIAGNOSTIC FINDINGS

As-Found Measurements

| Parameter | Measured | Unit | Spec / Range | Status | Notes |
| --- | --- | --- | --- | --- | --- |
| Space Temperature — As-Found |  | °F | Per setpoint |  |  |
| Supply Air Temp (as-found) |  | °F | Record actual |  |  |
| Return Air Temp (as-found) |  | °F | Record actual |  |  |
| Delta-T (as-found) |  | °F | 16–22 °F cooling |  |  |
| Supply Air CFM |  | CFM | Per design |  |  |
| Total External Static Pressure |  | in. w.c. | ≤ fan rated max |  |  |
| Suction Pressure (as-found) |  | PSIG | Per PT chart |  |  |
| Discharge Pressure (as-found) |  | PSIG | Per PT chart |  |  |
| Superheat (as-found) |  | °F | Per mfr spec |  |  |
| Subcooling (as-found) |  | °F | Per mfr spec |  |  |
| Supply Voltage — L1/L2 |  | VAC | ±5% nominal |  |  |
| Compressor Amp Draw (as-found) |  | Amps | ≤ nameplate RLA |  |  |
| Blower Amp Draw (as-found) |  | Amps | ≤ nameplate FLA |  |  |
| CO Level — Space (gas units) |  | ppm | < 35 ppm OSHA |  |  |
| CO Level — Flue (gas units) |  | ppm | < 400 ppm air-free |  |  |
| Filter Condition |  |  | Clean / Dirty / Changed |  |  |

Fault / Error Codes

| Fault Code | Source | Description | Action Taken |
| --- | --- | --- | --- |

Root Cause Determination

Root Cause Determination:

🔧  SECTION 5 — WORK PERFORMED

📌 NOTE: Describe each task performed in plain language. Be specific — vague entries such as 'serviced unit' are not acceptable. Each line should be sufficient to stand alone as a service record.

| # | Work Performed / Action Taken | Time Spent | Technician |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |

📊  SECTION 6 — BEFORE & AFTER PERFORMANCE DATA

ℹ️ NOTE: Record as-found values in the Before column before any repairs. Allow minimum 15 minutes of steady-state operation before recording After values. This comparison validates the effectiveness of the repair.

| Parameter | Before Repair | After Repair | Unit | Spec / Range | Notes |
| --- | --- | --- | --- | --- | --- |
| Space Temperature |  |  | °F | Per setpoint |  |
| Supply Air Temp |  |  | °F | Record actual |  |
| Return Air Temp |  |  | °F | Record actual |  |
| Delta-T |  |  | °F | 16–22 °F cooling |  |
| Suction Pressure |  |  | PSIG | Per PT chart |  |
| Discharge Pressure |  |  | PSIG | Per PT chart |  |
| Superheat |  |  | °F | Per mfr spec |  |
| Subcooling |  |  | °F | Per mfr spec |  |
| Compressor Amp Draw |  |  | Amps | ≤ nameplate RLA |  |
| Blower Amp Draw |  |  | Amps | ≤ nameplate FLA |  |
| Supply Voltage |  |  | VAC | ±5% nominal |  |
| Total External Static |  |  | in. w.c. | ≤ fan rated max |  |
| CO Level — Space |  |  | ppm | < 35 ppm |  |

🔩  SECTION 7 — PARTS & MATERIALS USED

| # | Part / Material Description | Part Number | Qty | Unit | Notes / Supplier |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

♻️  SECTION 8 — REFRIGERANT LOG (Complete if Refrigerant Handled)

⚠️  EPA Section 608 requires documentation of all refrigerant transactions. This section is legally required whenever refrigerant is added, recovered, or reclaimed.

| Action | Refrigerant Type | Amount (lbs) | Cylinder / Tank # | Technician & Date |
| --- | --- | --- | --- | --- |
| Recovered from system |  |  |  |  |
| Added to system |  |  |  |  |
| Net charge change (±) |  |  |  |  |
| Reason for charge change |  |  |  |  |

⏱️  SECTION 9 — TIME LOG & BILLING SUMMARY

Time Log

| Activity | Start Time | End Time | Total | Notes |
| --- | --- | --- | --- | --- |
| Dispatch / travel to site |  |  |  |  |
| Diagnostic / assessment |  |  |  |  |
| Repair / service work |  |  |  |  |
| Parts run / off-site |  |  |  |  |
| Return & system verification |  |  |  |  |

Billing Summary

| Labor / Service Item | Hours / Qty | Rate | Notes / Subtotal |
| --- | --- | --- | --- |
| Regular time labor |  |  |  |
| After-hours / overtime labor |  |  |  |
| Emergency / trip charge |  |  |  |
| Parts & materials |  |  |  |
| Refrigerant (lbs × rate) |  |  |  |
| Permits / inspection fees |  |  |  |
| Other charges |  |  |  |
| TOTAL |  |  |  |

📌  SECTION 10 — RECOMMENDATIONS & DEFERRED WORK

| 🔴 IMMEDIATE — Safety risk | 🟠 URGENT — Within 30 days | 🔵 PLANNED — Next service | 🟢 MONITOR — Watch only |
| --- | --- | --- | --- |

| Recommendation / Deferred Repair | Urgency | Est. Cost | Customer Response / Notes |
| --- | --- | --- | --- |

⚠️  Immediate (🔴) safety items must be disclosed in writing to the customer and documented with customer acknowledgment before technician departs the job site.

✅  SECTION 11 — SYSTEM STATUS SUMMARY

| Status Item | Result |
| --- | --- |
| System operational on departure | ☐ Yes ☐ No ☐ Partial |
| All complaints resolved | ☐ Yes ☐ No — see Section 10 |
| Safety concerns present | ☐ None ☐ Yes — disclosed to customer |
| Refrigerant handled | ☐ No ☐ Yes — log complete (Section 8) |
| Return visit required | ☐ No ☐ Yes — reason: ________________________ |
| Equipment replacement recommended | ☐ No ☐ Yes — see recommendations |
| Service agreement current | ☐ Yes ☐ No ☐ Renewal offered |
| Customer satisfaction | ☐ Satisfied ☐ Neutral ☐ Dissatisfied |

📝  SECTION 12 — TECHNICAL NOTES & OBSERVATIONS

Technical Notes & Observations:

✍️  SECTION 13 — REPORT SIGN-OFF & CUSTOMER ACCEPTANCE

| Lead Technician | Reviewer / Supervisor | Customer / Authorized Rep |
| --- | --- | --- |
| Signature: _____________________ | Signature: _____________________ | Signature: _____________________ |
| Printed Name: _____________________ | Printed Name: _____________________ | Printed Name: _____________________ |
| Company: _____________________ | Company: _____________________ | Company: _____________________ |
| Date: _____________________ | Date: _____________________ | Date: _____________________ |

This service report is a legal document. Customer signature confirms work was performed as described. A copy shall be provided to the customer upon request.