## Site Profile & Agreement
Your HVAC Co. |  |  |  | COMMERCIAL MAINTENANCE CHECKLIST TEMPLATE
Rogers, AR • (555) 867-5309 • www.yourhvac.com • service@yourhvac.com
🏢 SECTION 1 — CUSTOMER & SITE PROFILE
Customer / Company Name:
Billing Address:
Service Site Address:
City / State / ZIP:
Primary Contact Name:
Primary Contact Phone:
Primary Contact Email:
Secondary Contact / Facilities Mgr.:
Secondary Contact Phone:
Site Access Instructions:
Gate Code / Key / Badge Info:
Preferred Service Window:
Customer Account #:
📄 SECTION 2 — MAINTENANCE AGREEMENT DETAILS
Agreement / Contract Number:
Agreement Start Date:
Agreement End Date / Renewal Date:
Contract Type:
PM Visits Per Year:
Visit Frequency (e.g., Quarterly):
Labor Rate (standard hours):
Labor Rate (overtime hours):
Parts Discount %:
Emergency Call-Out Fee:
Trip Charge:
Refrigerant Covered? (Y/N):
Filters Included? (Y/N / Specify MERV):
Belts Included? (Y/N):
Minor Parts Cap per Visit ($):
Contract Annual Value ($):
Billing Cycle (Monthly / Quarterly / Annual):
Invoice Contact / AP Email:
Notes / Special Terms:
🏭 SECTION 3 — COVERED EQUIPMENT REGISTER
Unit Tag / ID | Type (RTU/AHU/etc.) | Manufacturer | Model # | Serial # | Tonnage / KW | Location / Zone
📅 SECTION 4 — ANNUAL PM VISIT SCHEDULE & STATUS TRACKER
Visit # | Scheduled Month | Actual Date | Technician | Ticket # | Status | Notes
1 | Q1 Visit |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
2 | Q2 Visit |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
3 | Q3 Visit |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
4 | Q4 Visit |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
5 | Annual / Full PM |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
6 | Semi-Annual A |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
7 | Semi-Annual B |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
8 | Monthly Jan |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
9 | Monthly Feb |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
10 | Monthly Mar |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
11 | Monthly Apr |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
12 | Monthly May |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
13 | Monthly Jun |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
14 | Monthly Jul |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
15 | Monthly Aug |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
16 | Monthly Sep |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
17 | Monthly Oct |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
18 | Monthly Nov |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
19 | Monthly Dec |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
20 | Additional Visit |  |  |  | ☐ Scheduled ☐ Completed ☐ Rescheduled
✍️ SECTION 5 — CONTRACT SIGN-OFF & AUTHORIZATION
Customer Authorized Signature:
Customer Printed Name / Title:
Customer Sign Date:
Your HVAC Co. Representative:
Representative Printed Name:
Representative Sign Date:
Contract Approved By (internal):
Approval Date:
Your HVAC Co. • Rogers, AR • (555) 867-5309 • www.yourhvac.com • EPA 608 Universal • NATE Certified

## Visit Log
Your HVAC Co. |  |  |  | VISIT-BY-VISIT MAINTENANCE LOG
Rogers, AR • (555) 867-5309 • www.yourhvac.com • service@yourhvac.com
📋 SECTION 6 — VISIT HEADER (COMPLETE FOR EACH SERVICE VISIT)
Customer / Site Name:
Visit Date:
Visit Type (Routine PM / Seasonal / Emergency):
Technician Name & Cert #:
Dispatch / Ticket #:
Time On Site:
Time Departed:
Total Labor Hours:
Parts Used (list below):
Total Parts Cost ($):
Invoice # (if applicable):
Next Visit Scheduled:
✅ SECTION 7 — MAINTENANCE TASK COMPLETION LOG
# | Maintenance Task | Done | Skipped | N/A | Measurement / Result | Tech Notes
▸ FILTERS & AIRFLOW
1 | Checked and recorded filter condition | ☐ | ☐ | ☐
2 | Replaced filters — MERV rating and qty documented | ☐ | ☐ | ☐
3 | Verified no filter bypass around rack edges | ☐ | ☐ | ☐
4 | Measured and recorded supply air static (in. w.c.) | ☐ | ☐ | ☐
5 | Measured and recorded return air static (in. w.c.) | ☐ | ☐ | ☐
▸ COILS, DRAIN PAN & CONDENSATE
6 | Inspected evaporator coil — cleaned if fouled | ☐ | ☐ | ☐
7 | Inspected condenser coil — cleaned if fouled | ☐ | ☐ | ☐
8 | Flushed condensate drain pan and line | ☐ | ☐ | ☐
9 | Verified P-trap integrity | ☐ | ☐ | ☐
10 | Treated drain pan with biocide tablet/solution | ☐ | ☐ | ☐
▸ BLOWER, BELTS & MOTORS
11 | Inspected blower wheel — cleaned if needed | ☐ | ☐ | ☐
12 | Inspected / replaced drive belts | ☐ | ☐ | ☐
13 | Checked belt tension and alignment | ☐ | ☐ | ☐
14 | Measured blower motor amps (recorded) | ☐ | ☐ | ☐
15 | Lubricated motors/bearings (grease-type only) | ☐ | ☐ | ☐
▸ REFRIGERANT SYSTEM
16 | Performed refrigerant leak check | ☐ | ☐ | ☐
17 | Recorded suction pressure (psig) | ☐ | ☐ | ☐
18 | Recorded discharge pressure (psig) | ☐ | ☐ | ☐
19 | Calculated superheat (°F) | ☐ | ☐ | ☐
20 | Calculated subcooling (°F) | ☐ | ☐ | ☐
21 | Documented any refrigerant added (lbs.) | ☐ | ☐ | ☐
▸ ELECTRICAL SYSTEM
22 | Measured and recorded supply voltage (all legs) | ☐ | ☐ | ☐
23 | Checked voltage imbalance — ≤ 2% | ☐ | ☐ | ☐
24 | Tightened all electrical connections | ☐ | ☐ | ☐
25 | Inspected contactors — condition noted | ☐ | ☐ | ☐
26 | Tested / measured capacitors (µF vs. rated) | ☐ | ☐ | ☐
27 | Cleared control board fault codes | ☐ | ☐ | ☐
▸ HEATING SYSTEM
28 | Inspected heat exchanger (gas units) | ☐ | ☐ | ☐
29 | Tested igniter and flame sensor (µA recorded) | ☐ | ☐ | ☐
30 | Measured gas manifold pressure (in. w.c.) | ☐ | ☐ | ☐
31 | Verified supply air temperature rise (°F) | ☐ | ☐ | ☐
32 | Tested electric strip heat / auxiliary heat | ☐ | ☐ | ☐
▸ CONTROLS & THERMOSTAT
33 | Verified thermostat/controller set points | ☐ | ☐ | ☐
34 | Tested occupied / unoccupied scheduling | ☐ | ☐ | ☐
35 | Reviewed and documented BAS/BMS alarm log | ☐ | ☐ | ☐
36 | Tested economizer / outdoor air damper operation | ☐ | ☐ | ☐
37 | Calibrated supply air temp sensor (±1°F) | ☐ | ☐ | ☐
▸ GENERAL CONDITION & SAFETY
38 | Inspected unit cabinet, panels, and curb | ☐ | ☐ | ☐
39 | Verified unit clearances — no obstructions | ☐ | ☐ | ☐
40 | Checked for pest/bird nesting — cleared if found | ☐ | ☐ | ☐
41 | Verified refrigerant line insulation integrity | ☐ | ☐ | ☐
42 | Photographed any deficiencies found | ☐ | ☐ | ☐
43 | Completed site cleanup — no debris left behind | ☐ | ☐ | ☐
🔧 SECTION 8 — PARTS & MATERIALS USED THIS VISIT
# | Part Description | Part Number | Qty | Unit Cost ($) | Total Cost ($) | Warranty (Y/N)
1
2
3
4
5
6
7
8
9
10
11
12
TOTAL PARTS COST THIS VISIT
📝 SECTION 9 — VISIT FINDINGS, RECOMMENDATIONS & SIGN-OFF
Deficiencies / Safety Issues Found:
Repairs Recommended (quote attached: Y / N):
Customer Comments / Requests:
Technician Signature:
Tech Printed Name & Date:
Customer / Site Contact Signature:
Customer Printed Name & Date:
Visit Result: |  |  | ☐ Complete — No Issues ☐ Complete — Issues Noted ☐ Incomplete — Return Required
Your HVAC Co. • Rogers, AR • (555) 867-5309 • www.yourhvac.com • EPA 608 Universal • NATE Certified

## Annual Service History
Your HVAC Co. |  |  |  | ANNUAL SERVICE HISTORY LOG
Rogers, AR • (555) 867-5309 • www.yourhvac.com • service@yourhvac.com
📊 SECTION 10 — ROLLING SERVICE HISTORY (ALL VISITS)
Visit # | Date | Visit Type | Technician | Ticket # | Units Serviced | Summary / Outcome
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
🧊 SECTION 11 — REFRIGERANT TRACKING LOG (EPA 608 COMPLIANCE)
Date | Unit Tag | Refrigerant Type | Lbs. Added | Lbs. Recovered | Tech / Cert # | Leak Repair? (Y/N)
⚠️ SECTION 12 — DEFICIENCY & OPEN REPAIR TRACKER
Date Found | Unit Tag | Deficiency Description | Priority | Quoted ($) | Repair Date | Status
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
☐ Open ☐ Quoted ☐ Scheduled ☐ Closed
💨 SECTION 13 — FILTER REPLACEMENT LOG
Date | Unit Tag / Zone | Filter Size | MERV Rating | Qty Changed | Technician | Next Change Due
Your HVAC Co. • Rogers, AR • (555) 867-5309 • www.yourhvac.com • EPA 608 Universal • NATE Certified

## Cost Summary
Your HVAC Co. |  |  |  | MAINTENANCE COST SUMMARY DASHBOARD
Rogers, AR • (555) 867-5309 • www.yourhvac.com • service@yourhvac.com
💰 SECTION 14 — ANNUAL MAINTENANCE COST SUMMARY (BY VISIT)
Visit # | Visit Date | Visit Type | Labor Hours | Labor Cost ($) | Parts Cost ($) | Total Cost ($)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
ANNUAL TOTALS
📈 SECTION 15 — MAINTENANCE KPI SUMMARY
Total PM Visits Completed This Year:
Total Labor Hours This Year:
Total Labor Cost This Year ($):
Total Parts Cost This Year ($):
Total Maintenance Spend This Year ($):
Contract Value This Year ($):
Total Deficiencies Found:
Total Deficiencies Resolved:
Total Deficiencies Open / Pending:
Total Refrigerant Added This Year (lbs.):
Total Filter Changes This Year:
Average Cost Per Visit ($):
Estimated Savings vs. Reactive Maintenance ($):
PM Compliance Rate (Visits Completed / Scheduled):
🏭 SECTION 16 — COST BREAKDOWN BY UNIT / EQUIPMENT TAG
Unit Tag / ID | Unit Type | Labor Cost ($) | Parts Cost ($) | Total Cost ($) | # of Visits | Cost Notes
Your HVAC Co. • Rogers, AR • (555) 867-5309 • www.yourhvac.com • EPA 608 Universal • NATE Certified