HVAC SYSTEM RISK ASSESSMENT TEMPLATE Identify, evaluate, and control hazards across all HVAC operations. Score each risk using the 5×5 matrix below.

📋  SECTION 1 — ASSESSMENT INFORMATION

| Risk Assessment #: ________________________ | Assessment Date: ________________________ |
| --- | --- |
| Lead Assessor: ________________________ | Assessor Certification / Role: ________________________ |
| Co-Assessor / Witness: ________________________ | Department / Company: ________________________ |

| Facility / Site Name: ________________________ | Primary Contact Name: ________________________ |
| --- | --- |
| Site Address: ________________________ | Phone / Email: ________________________ |
| Building / Zone Assessed: ________________________ | Equipment Unit(s) Covered: ________________________ |
| Assessment Type: ________________________ | Assessment Trigger: ________________________ |
| Previous Assessment Date: ________________________ | Previous Overall Risk Level: ________________________ |

Assessment Scope & Context

Assessment Type: ☐ Pre-Work / Pre-Task ☐ Routine PM ☐ New Install ☐ Post-Incident ☐ Annual Review ☐ Regulatory Work Activities Covered: ☐ Electrical ☐ Refrigerant ☐ Combustion ☐ Mechanical ☐ Airside ☐ Controls ☐ Rooftop/Heights Standards Applied: ☐ OSHA 29 CFR 1910 ☐ NFPA 70E ☐ EPA 608 ☐ ASHRAE ☐ IMC ☐ Local AHJ Work Permit Required: ☐ Hot Work ☐ Confined Space ☐ LOTO ☐ Elevated Work ☐ Refrigerant Recovery ☐ None PPE Baseline Required: Safety glasses, work gloves, steel-toe boots, hi-vis vest — minimum at all times on site

📊  SECTION 2 — RISK RATING METHODOLOGY & MATRIX

5×5 Risk Matrix — Likelihood × Severity = Risk Score

| Severity → Likelihood ↓ | Catastrophic (5) | Critical (4) | Moderate (3) | Minor (2) | Negligible (1) |
| --- | --- | --- | --- | --- | --- |
| Almost Certain | 25 CRITICAL | 20 CRITICAL | 15 HIGH | 10 HIGH | 5 MEDIUM |
| Likely | 20 CRITICAL | 16 HIGH | 12 HIGH | 8 MEDIUM | 4 LOW |
| Possible | 15 HIGH | 12 HIGH | 9 MEDIUM | 6 MEDIUM | 3 LOW |
| Unlikely | 10 HIGH | 8 MEDIUM | 6 MEDIUM | 4 LOW | 2 LOW |
| Rare | 5 MEDIUM | 4 LOW | 3 LOW | 2 LOW | 1 LOW |

Risk Rating Action Thresholds

| CRITICAL (20–25) | Immediate shutdown or corrective action. Notify management. Stop work if necessary. |
| --- | --- |
| HIGH (10–16) | Urgent corrective action required within 24–72 hours. Escalate to supervisor. |
| MEDIUM (5–9) | Action required within 30 days. Schedule repair or mitigation. Monitor closely. |
| LOW (1–4) | Acceptable risk. Monitor and address at next scheduled PM or opportunity. |

Likelihood Scale

| Rating | Level | Description | Example Frequency |
| --- | --- | --- | --- |
| 5 | Almost Certain | Expected to occur in most circumstances | More than once per month |
| 4 | Likely | Will probably occur in most circumstances | Once per month to once per year |
| 3 | Possible | Might occur at some time | Once per 1–5 years |
| 2 | Unlikely | Could occur but not expected | Once per 5–10 years |
| 1 | Rare | Only in exceptional circumstances | Less than once per 10 years |

Severity Scale

| Rating | Level | Human Impact | Financial / Operational Impact |
| --- | --- | --- | --- |
| 5 | Catastrophic | Fatality or permanent disability | Loss > $500K, regulatory shutdown, criminal liability |
| 4 | Critical | Serious injury, hospitalization | Loss $100K–$500K, major regulatory action |
| 3 | Moderate | Medical treatment required | Loss $10K–$100K, significant disruption |
| 2 | Minor | First aid treatment only | Loss $1K–$10K, minor disruption |
| 1 | Negligible | No injury or near miss only | Loss < $1K, minimal disruption |

⚠️  SECTION 3 — HAZARD IDENTIFICATION CHECKLIST

3A — Electrical Hazards

| Electrical Hazard | Present | Absent | N/A | Notes / Details |
| --- | --- | --- | --- | --- |
| Exposed or unguarded live electrical conductors (> 50V) | ☐ | ☐ | ☐ |  |
| Inadequate or missing lockout/tagout (LOTO) procedures | ☐ | ☐ | ☐ |  |
| Arc flash hazard present — arc flash study not completed or labels missing | ☐ | ☐ | ☐ |  |
| Overcurrent protection undersized or missing for equipment served | ☐ | ☐ | ☐ |  |
| Ground fault circuit interrupter (GFCI) protection absent in wet locations | ☐ | ☐ | ☐ |  |
| Electrical enclosures open, damaged, or missing knockouts | ☐ | ☐ | ☐ |  |
| Improper conductor sizing, connections, or splice methods | ☐ | ☐ | ☐ |  |
| Working clearances below NEC 110.26 minimums | ☐ | ☐ | ☐ |  |
| Capacitor bank stored energy not discharged before service | ☐ | ☐ | ☐ |  |
| Control voltage not isolated during board or sensor servicing | ☐ | ☐ | ☐ |  |

3B — Chemical & Refrigerant Hazards

| Chemical / Refrigerant Hazard | Present | Absent | N/A | Notes / Details |
| --- | --- | --- | --- | --- |
| Refrigerant leak present — inhalation or asphyxiation risk in confined area | ☐ | ☐ | ☐ |  |
| Refrigerant handling by non-EPA 608 certified personnel | ☐ | ☐ | ☐ |  |
| Refrigerant cylinders stored improperly — not secured or exceeding temp limits | ☐ | ☐ | ☐ |  |
| Coil cleaning chemicals used without SDS review and PPE | ☐ | ☐ | ☐ |  |
| Drain pan or condensate system biological growth (Legionella risk) | ☐ | ☐ | ☐ |  |
| Combustion byproduct (CO) leak risk from cracked heat exchanger | ☐ | ☐ | ☐ |  |
| Flammable refrigerant (A2L) handling without proper ignition source controls | ☐ | ☐ | ☐ |  |
| Chemical descaling agents used in enclosed area without ventilation | ☐ | ☐ | ☐ |  |
| Oil or lubricant spills creating slip hazard or fire risk | ☐ | ☐ | ☐ |  |
| Asbestos or lead-based materials in older equipment — undisturbed status unknown | ☐ | ☐ | ☐ |  |

3C — Mechanical & Physical Hazards

| Mechanical / Physical Hazard | Present | Absent | N/A | Notes / Details |
| --- | --- | --- | --- | --- |
| Rotating equipment (fan, blower, belt drive) unguarded or guard missing | ☐ | ☐ | ☐ |  |
| Sharp sheet metal edges on ductwork, coil casings, or equipment panels | ☐ | ☐ | ☐ |  |
| Stored energy in springs, pressurized vessels, or gas lines not relieved | ☐ | ☐ | ☐ |  |
| Heavy equipment lift or rigging required without lift plan | ☐ | ☐ | ☐ |  |
| Pinch points in damper actuators, linkages, or moving components | ☐ | ☐ | ☐ |  |
| Vibration-induced fatigue on refrigerant lines or structural mounts | ☐ | ☐ | ☐ |  |
| Pressure vessel condition unknown — no current inspection certification | ☐ | ☐ | ☐ |  |
| High-pressure refrigerant lines without relief valve or pressure gauges | ☐ | ☐ | ☐ |  |
| Inadequate equipment anchoring — seismic or wind load risk | ☐ | ☐ | ☐ |  |
| Noise levels > 85 dBA without hearing protection program | ☐ | ☐ | ☐ |  |

3D — Fall & Elevation Hazards

| Fall / Elevation Hazard | Present | Absent | N/A | Notes / Details |
| --- | --- | --- | --- | --- |
| Rooftop work without fall arrest system or guardrails | ☐ | ☐ | ☐ |  |
| Roof hatches / access doors unguarded or unlocked | ☐ | ☐ | ☐ |  |
| Ladder access to equipment in poor condition or improperly secured | ☐ | ☐ | ☐ |  |
| Working from aerial lift or scaffold without fall protection | ☐ | ☐ | ☐ |  |
| Skylight or fragile roof surface near work area unmarked | ☐ | ☐ | ☐ |  |
| Snow, ice, or wet conditions on rooftop access path | ☐ | ☐ | ☐ |  |
| Equipment platform or catwalk without compliant guardrails (OSHA 1910.23) | ☐ | ☐ | ☐ |  |
| Equipment placed within 6 ft of unguarded roof edge | ☐ | ☐ | ☐ |  |

3E — Fire & Explosion Hazards

| Fire / Explosion Hazard | Present | Absent | N/A | Notes / Details |
| --- | --- | --- | --- | --- |
| Gas leak detected or suspected in mechanical room | ☐ | ☐ | ☐ |  |
| Hot work (welding, brazing) without hot work permit and fire watch | ☐ | ☐ | ☐ |  |
| Combustible materials stored within 3 ft of heat-producing equipment | ☐ | ☐ | ☐ |  |
| Flammable refrigerant (A2L/A3) present without ignition source control plan | ☐ | ☐ | ☐ |  |
| Mechanical room ventilation insufficient for gas-fired equipment | ☐ | ☐ | ☐ |  |
| Flame rollout or improper burner flame pattern observed | ☐ | ☐ | ☐ |  |
| Heat exchanger crack or hole confirmed — CO/combustion gas to supply air | ☐ | ☐ | ☐ |  |
| Sprinkler head or smoke detector within equipment clearance zone | ☐ | ☐ | ☐ |  |

3F — Ergonomic & Environmental Hazards

| Ergonomic / Environmental Hazard | Present | Absent | N/A | Notes / Details |
| --- | --- | --- | --- | --- |
| Repetitive overhead work requiring sustained awkward posture | ☐ | ☐ | ☐ |  |
| Manual handling of components exceeding 50 lbs without assistance or lift aid | ☐ | ☐ | ☐ |  |
| Extreme heat exposure in attic, rooftop, or mechanical room > 95°F | ☐ | ☐ | ☐ |  |
| Extreme cold exposure during winter rooftop or refrigeration work | ☐ | ☐ | ☐ |  |
| Confined space entry required without permit and atmospheric monitoring | ☐ | ☐ | ☐ |  |
| Noise, dust, or fume exposure to building occupants during work | ☐ | ☐ | ☐ |  |
| Work performed during occupied hours with active HVAC disruption | ☐ | ☐ | ☐ |  |
| Inadequate lighting in mechanical room, attic, or equipment area | ☐ | ☐ | ☐ |  |

📋  SECTION 4 — RISK REGISTER (Identified Risks)

4A — Electrical Risks

| ID | Hazard / Risk Description | Category | L (1-5) | S (1-5) | Score | Rating | Current Controls | Recommended Action | Owner / Target |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| E-01 | Arc flash during panel work — PPE or study absent | Electrical | 3 | 5 | 15 | HIGH | Standard PPE | Complete arc flash study; upgrade PPE to cal rating | Lead Tech / 30 days |
| E-02 | LOTO failure — unexpected energization during service | Electrical | 2 | 5 | 10 | HIGH | Verbal LOTO | Implement written LOTO procedure per OSHA 1910.147 | Safety Officer / 14 days |
| E-03 | Capacitor discharge injury during compressor service | Electrical | 3 | 4 | 12 | HIGH | None documented | Add discharge procedure to service SOP; train all techs | PM Manager / 30 days |
| E-04 | Electrical shock from damaged control wiring | Electrical | 2 | 4 | 8 | MEDIUM | Visual inspection | Replace damaged wiring; add to PM checklist | Lead Tech / 60 days |
| E-05 |  |  |  |  |  |  |  |  |  |
| E-06 |  |  |  |  |  |  |  |  |  |
| E-07 |  |  |  |  |  |  |  |  |  |
| E-08 |  |  |  |  |  |  |  |  |  |

4B — Chemical & Refrigerant Risks

| ID | Hazard / Risk Description | Category | L (1-5) | S (1-5) | Score | Rating | Current Controls | Recommended Action | Owner / Target |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R-01 | Refrigerant inhalation / asphyxiation — enclosed mechanical room leak | Refrigerant | 3 | 4 | 12 | HIGH | Manual leak check | Install fixed refrigerant leak detector with alarm; SDS posted | Safety Officer / 30 days |
| R-02 | Flammable refrigerant (A2L) ignition during service | Refrigerant | 2 | 5 | 10 | HIGH | No A2L protocol | Develop A2L handling SOP; train all refrigerant techs | Ops Manager / 45 days |
| R-03 | CO poisoning from cracked heat exchanger | Combustion | 2 | 5 | 10 | HIGH | Annual inspection | Add CO detector in mechanical room; inspect HX at every PM | Lead Tech / 14 days |
| R-04 | Chemical exposure during coil cleaning | Chemical | 4 | 3 | 12 | HIGH | Gloves only | Enforce SDS requirements; supply full face shield and apron | Safety Officer / 14 days |
| R-05 |  |  |  |  |  |  |  |  |  |
| R-06 |  |  |  |  |  |  |  |  |  |
| R-07 |  |  |  |  |  |  |  |  |  |
| R-08 |  |  |  |  |  |  |  |  |  |

4C — Mechanical & Physical Risks

| ID | Hazard / Risk Description | Category | L (1-5) | S (1-5) | Score | Rating | Current Controls | Recommended Action | Owner / Target |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| M-01 | Contact with rotating fan blade — guard removed during service | Mechanical | 3 | 4 | 12 | HIGH | LOTO required | Enforce LOTO before removing fan guards; add checklist step | Lead Tech / 7 days |
| M-02 | Sheet metal laceration during ductwork modification | Mechanical | 4 | 2 | 8 | MEDIUM | Gloves available | Mandate cut-resistant gloves; provide snips and deburring tools | Safety Officer / 14 days |
| M-03 | Pressure vessel failure — receiver or accumulator uninspected | Mechanical | 1 | 5 | 5 | MEDIUM | None | Verify inspection cert on all pressure vessels; add to register | Ops Manager / 60 days |
| M-04 | Heavy lift injury (compressor, AHU) without lift plan | Mechanical | 3 | 3 | 9 | MEDIUM | Verbal coordination | Require written lift plan > 75 lbs; provide rigging equipment | PM Manager / 30 days |
| M-05 |  |  |  |  |  |  |  |  |  |
| M-06 |  |  |  |  |  |  |  |  |  |
| M-07 |  |  |  |  |  |  |  |  |  |
| M-08 |  |  |  |  |  |  |  |  |  |

4D — Fall & Elevation Risks

| ID | Hazard / Risk Description | Category | L (1-5) | S (1-5) | Score | Rating | Current Controls | Recommended Action | Owner / Target |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| F-01 | Fall from rooftop — no fall arrest or guardrail system | Fall | 3 | 5 | 15 | HIGH | Verbal caution | Install roof anchor points; mandate harness for all rooftop work | Safety Officer / 30 days |
| F-02 | Ladder fall due to improper setup or defective equipment | Fall | 3 | 4 | 12 | HIGH | Visual check | Implement ladder inspection tag program; train on setup angles | Lead Tech / 14 days |
| F-03 | Slip on wet rooftop surface after rain or coil washdown | Fall | 4 | 3 | 12 | HIGH | None | Mandate slip-resistant footwear; schedule washdowns for dry days | Safety Officer / 7 days |
| F-04 | Equipment placed within fall zone — no roof edge barrier | Fall | 2 | 5 | 10 | HIGH | None | Use warning line system per OSHA 1926.502 for rooftop work | Lead Tech / 30 days |
| F-05 |  |  |  |  |  |  |  |  |  |
| F-06 |  |  |  |  |  |  |  |  |  |
| F-07 |  |  |  |  |  |  |  |  |  |
| F-08 |  |  |  |  |  |  |  |  |  |

4E — Fire, Explosion & Environmental Risks

| ID | Hazard / Risk Description | Category | L (1-5) | S (1-5) | Score | Rating | Current Controls | Recommended Action | Owner / Target |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FE-01 | Gas ignition during brazing — no hot work permit or fire watch | Fire | 2 | 5 | 10 | HIGH | Fire extinguisher nearby | Implement hot work permit program; designate fire watch role | Safety Officer / 14 days |
| FE-02 | CO buildup in mechanical room — poor ventilation | Combustion | 3 | 4 | 12 | HIGH | Manual inspection | Add CO/combustible gas detector with alarm; inspect ventilation | Ops Manager / 30 days |
| FE-03 | Refrigerant release to atmosphere — EPA violation | Environmental | 3 | 3 | 9 | MEDIUM | Recovery equipment on truck | Verify recovery equipment on every job; log all refrigerant transactions | Lead Tech / 14 days |
| FE-04 | Flammable material storage near heat source | Fire | 2 | 3 | 6 | MEDIUM | None documented | Post no-storage zone markings; inspect at each PM visit | PM Manager / 30 days |
| FE-05 |  |  |  |  |  |  |  |  |  |
| FE-06 |  |  |  |  |  |  |  |  |  |
| FE-07 |  |  |  |  |  |  |  |  |  |

🛡️  SECTION 5 — HIERARCHY OF CONTROLS

Applied Control Measures — Document controls implemented for identified risks

| Control Measure | Control Type | Effectiveness | Implementation Notes |
| --- | --- | --- | --- |
| Elimination — Remove the hazard entirely | Elimination | High |  |
| Substitution — Replace with lower-risk refrigerant, method, or material | Substitution | High |  |
| Engineering Controls — Isolation, guarding, ventilation, interlocks | Engineering | High |  |
| Administrative Controls — LOTO, permits, SOPs, training, scheduling | Administrative | Medium |  |
| PPE — Last line of defense — gloves, glasses, arc flash, fall arrest | PPE | Medium |  |

Site-Specific Control Measures Implemented

| Risk ID | Control Measure Description | Control Type | Responsible Party | Implementation Date | Verification Method |
| --- | --- | --- | --- | --- | --- |

🚨  SECTION 6 — EMERGENCY RESPONSE & INCIDENT PROTOCOLS

Emergency Contacts — Complete before work begins

| Emergency Role | Name | Phone / Radio | Location / Notes |
| --- | --- | --- | --- |
| Emergency Services (911) | Emergency Services | 911 | Nearest hospital: ________________________ |
| Site Safety Officer |  |  |  |
| Lead HVAC Technician |  |  |  |
| Facility Manager / Owner |  |  |  |
| Utility Emergency (Gas) |  |  | Gas main shut-off location: ________________ |
| Utility Emergency (Electric) |  |  | Main disconnect location: __________________ |
| Poison Control | Poison Control Center | 1-800-222-1222 | For chemical or refrigerant exposure |
| HVAC Equipment Manufacturer |  |  | Model / Serial: ___________________________ |

Incident Response Protocols

| Emergency Protocol — Verified in Place | Present | Absent | N/A | Notes / Details |
| --- | --- | --- | --- | --- |
| First aid kit stocked and location communicated to all personnel on site | ☐ | ☐ | ☐ |  |
| AED (automated external defibrillator) location confirmed | ☐ | ☐ | ☐ |  |
| Emergency eyewash station accessible within 10 seconds (if chemicals in use) | ☐ | ☐ | ☐ |  |
| Fire extinguisher type and location verified — inspection tag current | ☐ | ☐ | ☐ |  |
| Spill kit available for refrigerant or chemical release | ☐ | ☐ | ☐ |  |
| Evacuation routes posted and communicated to crew | ☐ | ☐ | ☐ |  |
| Nearest emergency room / urgent care location confirmed | ☐ | ☐ | ☐ |  |
| Incident reporting procedure communicated to all workers on site | ☐ | ☐ | ☐ |  |
| Stop-work authority communicated — all workers empowered to stop unsafe work | ☐ | ☐ | ☐ |  |
| Toolbox talk / pre-task safety briefing completed before work begins | ☐ | ☐ | ☐ |  |

🦺  SECTION 7 — PPE REQUIREMENTS BY TASK

| Task / Work Activity | PPE Category | Safety Glasses | Face Shield | Gloves | Arc Flash PPE | Fall Arrest | Respirator |
| --- | --- | --- | --- | --- | --- | --- | --- |
| General inspection / walk-around | Basic | ✔ |  | ✔ |  |  |  |
| Electrical panel / control work | Arc Flash | ✔ | ✔ | ✔ | ✔ |  |  |
| Refrigerant recovery / charging | Chemical | ✔ | ✔ | ✔ |  |  | ✔ |
| Coil chemical cleaning | Chemical | ✔ | ✔ | ✔ |  |  | ✔ |
| Brazing / welding / hot work | Hot Work | ✔ | ✔ | ✔ |  |  | ✔ |
| Ductwork modification / sheet metal | Cut Hazard | ✔ |  | ✔ |  |  |  |
| Rooftop equipment service | Fall / UV | ✔ |  | ✔ |  | ✔ |  |
| Mechanical room — gas systems | Chemical / CO | ✔ |  | ✔ |  |  | ✔ |
| Confined space entry | Confined Space | ✔ |  | ✔ |  |  | ✔ |
| Pressure testing / leak detection | Pressure | ✔ | ✔ | ✔ |  |  |  |

📊  SECTION 8 — RESIDUAL RISK SUMMARY & OVERALL ASSESSMENT

Risk Count by Rating — After Controls Applied

| Risk Level | Score Range | # Identified | # Resolved | Outstanding Action Items |
| --- | --- | --- | --- | --- |
| CRITICAL | 20–25 |  |  |  |
| HIGH | 10–16 |  |  |  |
| MEDIUM | 5–9 |  |  |  |
| LOW | 1–4 |  |  |  |

Overall Site Risk Level: ☐ CRITICAL — Stop Work ☐ HIGH — Urgent Action ☐ MEDIUM — Monitoring Required ☐ LOW — Proceed with Standard Controls Total Risks Identified: ___________ Resolved / Controlled: ___________ Outstanding: ___________ Residual Risk Accepted By: ____________________________________________ Date: _______________ Re-Assessment Trigger: ☐ Post-Incident ☐ Scope Change ☐ New Equipment ☐ Annual ☐ Regulatory Change Next Scheduled Review Date: ________________________________

Outstanding Action Items

Critical / High Priority Items Requiring Immediate Action: 1. _______________________________________________________________________________ 2. _______________________________________________________________________________ 3. _______________________________________________________________________________ Medium Priority Items (Complete within 30 days): 1. _______________________________________________________________________________ 2. _______________________________________________________________________________ 3. _______________________________________________________________________________

📝  SECTION 9 — TOOLBOX TALK & WORKER ACKNOWLEDGMENT

Pre-Task Safety Briefing Record

Briefing Date / Time: ________________________ Duration: _____________ minutes Topics Covered: Identified hazards, control measures, PPE requirements, emergency contacts, stop-work authority Lead Technician Conducting Briefing: _______________________________________________

Worker Sign-In — I have reviewed the risk assessment and understand the hazards and controls for this work.

| Worker Name (Print) | Role / Trade | Signature | Date |
| --- | --- | --- | --- |

✍️  SECTION 10 — AUTHORIZATION & SIGN-OFF

| Lead Assessor (Print) | Lead Assessor Signature | Date |
| --- | --- | --- |

| Safety Officer / Supervisor (Print) | Supervisor Signature | Date Reviewed |
| --- | --- | --- |

| Facility Manager / Owner Rep (Print) | Owner Signature | Date Accepted |
| --- | --- | --- |

Assessor Certification: I certify that this risk assessment was conducted systematically and in good faith, that identified hazards have been evaluated using the scoring methodology above, and that recommended controls are appropriate and feasible for the work described.