HVAC CONSTRUCTION CHECKLIST Complete all applicable sections. Mark Pass / Fail / N/A. Record all measurements and observations.

📋  SECTION 1 — PROJECT & TECHNICIAN INFORMATION

| Work Order #: ________________________ | Project Name: ________________________ |
| --- | --- |
| Technician Name: ________________________ | License / Cert #: ________________________ |
| Project Address: ________________________ | City / State / ZIP: ________________________ |
| General Contractor: ________________________ | Project Manager: ________________________ |
| Inspection Date: ________________________ | Completion Date: ________________________ |
| Permit #: ________________________ | AHJ Inspector: ________________________ |

🔍  SECTION 2 — PRE-INSTALLATION VERIFICATION

| Inspection Item | Description / Criteria | Pass | Fail | N/A | Notes / Observations |
| --- | --- | --- | --- | --- | --- |
| Approved Plans On-Site | Verify stamped/approved mechanical drawings are available | ☐ | ☐ | ☐ |  |
| Permit Posted | Construction permit visibly posted at job site | ☐ | ☐ | ☐ |  |
| Equipment Submittal Approval | All equipment submittals reviewed and approved by engineer | ☐ | ☐ | ☐ |  |
| Rough-In Dimensions Verified | Equipment clearances and access paths confirmed per plans | ☐ | ☐ | ☐ |  |
| Structural Supports Ready | Curbs, pads, and hangers installed per drawings | ☐ | ☐ | ☐ |  |
| Electrical Rough-In Confirmed | Panel capacity, disconnects, and conduit stubs in place | ☐ | ☐ | ☐ |  |
| Plumbing Rough-In Confirmed | Condensate drain slopes, refrigerant line routing confirmed | ☐ | ☐ | ☐ |  |
| Duct Penetrations Sleeved | Fire-rated penetrations sleeved and approved | ☐ | ☐ | ☐ |  |
| Jobsite Safety Compliant | PPE available; fall protection, LOTO procedures in place | ☐ | ☐ | ☐ |  |
| Material Delivery Inspected | All equipment received, inspected for shipping damage | ☐ | ☐ | ☐ |  |

🔧  SECTION 3 — EQUIPMENT INSTALLATION

| Inspection Item | Description / Criteria | Pass | Fail | N/A | Notes / Observations |
| --- | --- | --- | --- | --- | --- |
| RTU / AHU Placement | Unit set level on curb/pad; vibration isolators installed | ☐ | ☐ | ☐ |  |
| Equipment Anchoring | Unit secured per manufacturer specs and seismic requirements | ☐ | ☐ | ☐ |  |
| Refrigerant Piping | Properly pitched, insulated, and brazed with nitrogen purge | ☐ | ☐ | ☐ |  |
| Leak Test Performed | System pressure-tested per ASHRAE 15 / EPA requirements | ☐ | ☐ | ☐ |  |
| Electrical Connections | Wiring terminated per NEC; torque specs met; labeled | ☐ | ☐ | ☐ |  |
| Disconnect/Breaker Installed | Properly sized and within line-of-sight of equipment | ☐ | ☐ | ☐ |  |
| Controls Wiring | Low-voltage thermostat / DDC wiring per sequence of ops | ☐ | ☐ | ☐ |  |
| Condensate System | Drain pan, trap, and primary/secondary lines complete | ☐ | ☐ | ☐ |  |
| Filter Bank Installed | Correct MERV rating; filters clean and properly seated | ☐ | ☐ | ☐ |  |
| Economizer / OA Damper | Linkage, actuator, and position verified functional | ☐ | ☐ | ☐ |  |
| Refrigerant Charged | Charge verified per manufacturer method (weigh-in/subcooling) | ☐ | ☐ | ☐ |  |
| Refrigerant Logged | Type, amount, and equipment ID recorded on refrigerant log | ☐ | ☐ | ☐ |  |

💨  SECTION 4 — DUCTWORK INSTALLATION

| Inspection Item | Description / Criteria | Pass | Fail | N/A | Notes / Observations |
| --- | --- | --- | --- | --- | --- |
| Duct Material / Gauge | Meets SMACNA standards; gauge verified per static class | ☐ | ☐ | ☐ |  |
| Duct Sealing — Supply | All joints sealed with mastic/tape; no visible leakage | ☐ | ☐ | ☐ |  |
| Duct Sealing — Return | Return plenums and duct sealed; no bypass from unconditioned | ☐ | ☐ | ☐ |  |
| Insulation — Supply | Correct R-value installed; vapor barrier intact | ☐ | ☐ | ☐ |  |
| Insulation — Return | Insulated where required; no damage or gaps | ☐ | ☐ | ☐ |  |
| Balancing Dampers Installed | All branch dampers accessible and in open position | ☐ | ☐ | ☐ |  |
| Flex Duct Max 4 ft Run | No excessive flex duct; proper support every 4 ft | ☐ | ☐ | ☐ |  |
| Diffuser / Grille Placement | Installed per plans; no obstructions; ceiling tiles cut clean | ☐ | ☐ | ☐ |  |
| Fire/Smoke Dampers | Installed at rated assemblies; fusible links in place | ☐ | ☐ | ☐ |  |
| Duct Leak Test | Pressure test per SMACNA; leakage within Class A tolerance | ☐ | ☐ | ☐ |  |

🎛️  SECTION 5 — CONTROLS & BUILDING AUTOMATION

| Inspection Item | Description / Criteria | Pass | Fail | N/A | Notes / Observations |
| --- | --- | --- | --- | --- | --- |
| Thermostat / DDC Controller | Installed, programmed, and communicating with equipment | ☐ | ☐ | ☐ |  |
| Setpoints Configured | Heating/cooling setpoints per owner's operational needs | ☐ | ☐ | ☐ |  |
| Occupied / Unoccupied Schedule | Schedule programmed and verified with owner | ☐ | ☐ | ☐ |  |
| Supply Air Temp Sensor | Calibrated and within ±1°F of reference thermometer | ☐ | ☐ | ☐ |  |
| Zone Sensors Installed | All zone sensors functional; no open circuits | ☐ | ☐ | ☐ |  |
| CO2 / DCV Sensor | Demand-controlled ventilation sensor calibrated if applicable | ☐ | ☐ | ☐ |  |
| BAS Integration Tested | Points mapped and verified in BAS/BMS if applicable | ☐ | ☐ | ☐ |  |
| Alarms Configured | High/low limits, dirty filter, and fault alarms set | ☐ | ☐ | ☐ |  |
| Remote Access Verified | Cloud or local remote access tested and documented | ☐ | ☐ | ☐ |  |
| As-Built Controls Schematic | Final wiring diagram updated and on-site or submitted | ☐ | ☐ | ☐ |  |

📊  SECTION 6 — FIELD MEASUREMENTS & VERIFICATION

System Performance Data

| Parameter | Measured Value | Unit | Spec / Req | Status | Notes |
| --- | --- | --- | --- | --- | --- |
| Supply Air CFM — Total |  | CFM | Per design |  |  |
| Return Air CFM — Total |  | CFM | Balanced ±10% |  |  |
| Outside Air CFM |  | CFM | Per code/design |  |  |
| Supply Air Temperature |  | °F | Per setpoint |  |  |
| Return Air Temperature |  | °F | Design delta-T |  |  |
| Mixed Air Temperature |  | °F | Calculated |  |  |
| Discharge Air Pressure (Static) |  | in. w.c. | Per design |  |  |
| Total External Static Pressure |  | in. w.c. | ≤ Fan max |  |  |
| Refrigerant Suction Pressure |  | PSIG | Per mfr chart |  |  |
| Refrigerant Discharge Pressure |  | PSIG | Per mfr chart |  |  |
| Suction Line Temperature |  | °F | Superheat target |  |  |
| Liquid Line Temperature |  | °F | Subcooling target |  |  |
| Superheat (Suction) |  | °F | Per mfr spec |  |  |
| Subcooling (Liquid) |  | °F | Per mfr spec |  |  |
| Compressor Amp Draw (RLA) |  | Amps | ≤ Nameplate RLA |  |  |
| Blower Motor Amp Draw |  | Amps | ≤ Nameplate FLA |  |  |
| Supply Voltage (L1-L2) |  | VAC | ±5% nominal |  |  |
| Supply Voltage (L1-L3) |  | VAC | ±5% nominal |  |  |
| Supply Voltage (L2-L3) |  | VAC | ±5% nominal |  |  |

✅  SECTION 7 — COMMISSIONING & STARTUP

| Inspection Item | Description / Criteria | Pass | Fail | N/A | Notes / Observations |
| --- | --- | --- | --- | --- | --- |
| Pre-Start Safety Check | All covers secured; no tools or debris in unit | ☐ | ☐ | ☐ |  |
| Startup Documentation Complete | Manufacturer startup form completed and signed | ☐ | ☐ | ☐ |  |
| Test & Balance Report | TAB contractor report received and reviewed | ☐ | ☐ | ☐ |  |
| Owner Training Performed | Operator trained on controls, filters, and maintenance | ☐ | ☐ | ☐ |  |
| O&M Manuals Submitted | All equipment manuals delivered to owner/PM | ☐ | ☐ | ☐ |  |
| Warranty Cards Submitted | Equipment warranty registered with manufacturer | ☐ | ☐ | ☐ |  |
| Spare Parts Left On-Site | Spare filters, belts, and fuses left with owner | ☐ | ☐ | ☐ |  |
| Final Punch List Cleared | All punch list items from GC/engineer resolved | ☐ | ☐ | ☐ |  |
| Permit Final Signed Off | AHJ final inspection passed and card signed | ☐ | ☐ | ☐ |  |
| As-Built Drawings Submitted | Mechanical as-builts delivered to owner and GC | ☐ | ☐ | ☐ |  |
| Certificate of Completion | Signed completion certificate issued to owner | ☐ | ☐ | ☐ |  |

⚠️  SECTION 8 — DEFICIENCIES & CORRECTIVE ACTIONS

| # | Deficiency Description | Corrective Action Taken | Responsible Party | Date Resolved |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |

📝  SECTION 9 — ADDITIONAL NOTES

ADDITIONAL NOTES & OBSERVATIONS

✍️  SECTION 10 — PROJECT SIGN-OFF & ACCEPTANCE

| Lead Technician | Project Manager | Owner / Rep |
| --- | --- | --- |
| Signature: | Signature: | Signature: |
| Printed Name: ____________________ | Printed Name: ____________________ | Printed Name: ____________________ |
| Date: ______________________________ | Date: ______________________________ | Date: ______________________________ |

This checklist does not substitute for applicable mechanical code inspections or engineer commissioning requirements.