HVAC SERVICE TICKET Complete all sections. Record all measurements and technician observations.

📋  SECTION 1 — JOB & TECHNICIAN INFORMATION

| Work Order #: ________________________ | Service Date: ________________________ |
| --- | --- |
| Technician Name: ________________________ | Technician ID / Badge #: ________________________ |
| Dispatch Time: ________________________ | Arrival Time: ________________________ |
| Completion Time: ________________________ | Total Hours On-Site: ________________________ |

🏢  SECTION 2 — CUSTOMER & SITE INFORMATION

| Customer / Business Name: ________________________ | Contact Person: ________________________ |
| --- | --- |
| Service Address: ________________________ | City / State / ZIP: ________________________ |
| Phone Number: ________________________ | Email Address: ________________________ |
| PO Number: ________________________ | Contract / Agreement #: ________________________ |

⚙️  SECTION 3 — EQUIPMENT INFORMATION

| Equipment Type: ________________________ | Make / Manufacturer: ________________________ |
| --- | --- |
| Model Number: ________________________ | Serial Number: ________________________ |
| Equipment Age (Years): ________________________ | Refrigerant Type: ________________________ |
| System Capacity (Tons / BTU): ________________________ | Location / Unit ID: ________________________ |
| Last Service Date: ________________________ | Last Service Work Order #: ________________________ |

🔧  SECTION 4 — SERVICE TYPE & DESCRIPTION

Service Category — Check All That Apply

| Item / Task | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Routine Preventive Maintenance | ☐ | ☐ | ☐ |
| Emergency / Unscheduled Service Call | ☐ | ☐ | ☐ |
| System Diagnostic / Troubleshooting | ☐ | ☐ | ☐ |
| Refrigerant Recharge / Leak Repair | ☐ | ☐ | ☐ |
| Compressor Replacement / Repair | ☐ | ☐ | ☐ |
| Coil Cleaning (Evaporator / Condenser) | ☐ | ☐ | ☐ |
| Filter Replacement | ☐ | ☐ | ☐ |
| Electrical / Controls Repair | ☐ | ☐ | ☐ |
| Duct Repair / Sealing | ☐ | ☐ | ☐ |
| Thermostat / Controls Calibration | ☐ | ☐ | ☐ |
| Warranty Service | ☐ | ☐ | ☐ |
| New Equipment Startup / Commissioning | ☐ | ☐ | ☐ |

Customer-Reported Problem / Complaint:

📐  SECTION 5 — SYSTEM MEASUREMENTS & READINGS

Refrigerant Circuit Readings

| Parameter | Measured | Unit | Spec / Range | Status | Notes |
| --- | --- | --- | --- | --- | --- |
| Suction Pressure |  | PSIG |  |  |  |
| Discharge Pressure |  | PSIG |  |  |  |
| Suction Line Temp |  | °F |  |  |  |
| Liquid Line Temp |  | °F |  |  |  |
| Superheat (Actual) |  | °F | 8–12°F TXV / 10–18°F Fixed |  |  |
| Subcooling (Actual) |  | °F | 10–15°F |  |  |
| Refrigerant Added |  | lbs / oz |  |  |  |

Electrical Readings

| Parameter | Measured | Unit | Spec / Range | Status | Notes |
| --- | --- | --- | --- | --- | --- |
| Supply Voltage (L1–L2) |  | VAC | ±10% Nameplate |  |  |
| Supply Voltage (L1–L3) |  | VAC |  |  |  |
| Compressor Amps (L1) |  | A | ≤ RLA |  |  |
| Compressor Amps (L2) |  | A |  |  |  |
| Condenser Fan Amps |  | A | ≤ FLA |  |  |
| Blower / Evap Fan Amps |  | A | ≤ FLA |  |  |
| Capacitor (Compressor) |  | µF | ±6% Rated |  |  |
| Capacitor (Fan Motor) |  | µF | ±6% Rated |  |  |

Airflow & Temperature Readings

| Parameter | Measured | Unit | Spec / Range | Status | Notes |
| --- | --- | --- | --- | --- | --- |
| Return Air Temp (DB) |  | °F |  |  |  |
| Return Air Temp (WB) |  | °F |  |  |  |
| Supply Air Temp (DB) |  | °F |  |  |  |
| Total Temp Drop (ΔT) |  | °F | 16–22°F |  |  |
| Static Pressure (Total) |  | in. w.c. |  |  |  |
| Static Pressure (Supply) |  | in. w.c. |  |  |  |
| Static Pressure (Return) |  | in. w.c. |  |  |  |
| Airflow (CFM) |  | CFM |  |  |  |

✅  SECTION 6 — SERVICE PERFORMED CHECKLIST

Air Handler / Indoor Unit

| Item / Task | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Inspect and replace air filter(s) | ☐ | ☐ | ☐ |
| Clean evaporator coil | ☐ | ☐ | ☐ |
| Check / clean condensate drain pan and drain line | ☐ | ☐ | ☐ |
| Inspect blower wheel and motor | ☐ | ☐ | ☐ |
| Lubricate blower motor bearings (if applicable) | ☐ | ☐ | ☐ |
| Inspect heat exchanger for cracks / corrosion | ☐ | ☐ | ☐ |
| Check / tighten all electrical connections | ☐ | ☐ | ☐ |
| Inspect thermostat and control board operation | ☐ | ☐ | ☐ |

Condenser / Outdoor Unit

| Item / Task | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Clean condenser coil | ☐ | ☐ | ☐ |
| Inspect condenser fan blade and motor | ☐ | ☐ | ☐ |
| Check refrigerant pressures and temperatures | ☐ | ☐ | ☐ |
| Inspect compressor operation | ☐ | ☐ | ☐ |
| Test capacitors and contactors | ☐ | ☐ | ☐ |
| Check refrigerant lines for insulation damage | ☐ | ☐ | ☐ |
| Inspect disconnect and wiring for wear / damage | ☐ | ☐ | ☐ |
| Clear debris from unit and surrounding area | ☐ | ☐ | ☐ |

Controls & Safety Devices

| Item / Task | Pass | Fail | N/A |
| --- | --- | --- | --- |
| Verify thermostat setpoints and calibration | ☐ | ☐ | ☐ |
| Test high-pressure safety switch | ☐ | ☐ | ☐ |
| Test low-pressure safety switch | ☐ | ☐ | ☐ |
| Test freeze / low-temp safety (if present) | ☐ | ☐ | ☐ |
| Verify economizer / damper operation (if applicable) | ☐ | ☐ | ☐ |
| Test defrost controls (heat pump only) | ☐ | ☐ | ☐ |
| Verify all safety lockouts reset and function | ☐ | ☐ | ☐ |
| Check smoke / CO detectors (if HVAC-integrated) | ☐ | ☐ | ☐ |

🛠️  SECTION 7 — PARTS & MATERIALS USED

| Part / Material Description | Part # | Qty | Unit Cost | Total |
| --- | --- | --- | --- | --- |
|  |  |  | $ | $ |
|  |  |  | $ | $ |
|  |  |  | $ | $ |
|  |  |  | $ | $ |
|  |  |  | $ | $ |
|  |  |  | $ | $ |
|  |  |  | $ | $ |
| Parts Subtotal: |  |  | $ | $___________ |

⏱️  SECTION 8 — LABOR SUMMARY

| Regular Hours: ________________________ | Overtime Hours: ________________________ |
| --- | --- |
| Labor Rate (Regular): ________________________ | Labor Rate (OT): ________________________ |
| Travel / Drive Time: ________________________ | Trip / Dispatch Charge: ________________________ |
| Labor Subtotal: $_____________ | Invoice Total: $_____________ |

📝  SECTION 9 — FINDINGS, RECOMMENDATIONS & FOLLOW-UP

Technician Findings / Diagnosis:

Recommendations / Additional Work Needed:

Parts / Equipment to Order:

| Follow-Up Appointment Date: ________________________ | Estimated Follow-Up Cost: ________________________ |
| --- | --- |

🔴  SECTION 10 — SYSTEM STATUS AT DEPARTURE

System Operational Status — Select One

| Item / Task | Pass | Fail | N/A |
| --- | --- | --- | --- |
| System Fully Operational — All issues resolved | ☐ | ☐ | ☐ |
| System Operational with Caveats — Minor issues noted (see findings above) | ☐ | ☐ | ☐ |
| System Partially Operational — Follow-up work required | ☐ | ☐ | ☐ |
| System Non-Operational — Unit offline; repairs or replacement needed | ☐ | ☐ | ☐ |
| System Tagged Out — Safety hazard; do not operate until repaired | ☐ | ☐ | ☐ |

✍️  SECTION 11 — AUTHORIZATION & SIGNATURES

By signing below, the customer acknowledges that the described work was performed satisfactorily and authorizes payment as invoiced.

| X Technician Signature | X Print Name | X Date |
| --- | --- | --- |

| X Customer Signature | X Print Name | X Date |
| --- | --- | --- |

Customer Signature confirms receipt of service. It does not waive any warranty rights or dispute resolution process per your service agreement.