📋  SECTION 1 — SERVICE REMINDER DETAILS

| REMINDER INFORMATION Reminder / Work Order #: _________________________ Reminder Date Issued: _________________________ Service Due Date: _________________________ Last Service Date: _________________________ Service Interval: ☐ Monthly ☐ Quarterly ☐ Semi-Annual ☐ Annual Contract / Agreement #: _________________________ Priority: ☐ Routine ☐ Urgent ☐ Emergency | ASSIGNED TECHNICIAN Lead Technician: _________________________ Certifications: EPA 608 ☐ NATE ☐ Other: ______ Branch / Office: _________________________ Dispatcher / Coordinator: _________________________ Scheduled Arrival Time: _________________________ Estimated Duration: _________________________ Work Order Status: ☐ Scheduled ☐ In Progress ☐ Complete |
| --- | --- |

🏢  SECTION 2 — CLIENT & SITE INFORMATION

| CLIENT INFORMATION Client / Company: _________________________ Primary Contact: _________________________ Phone: _________________________ Email: _________________________ Billing Address: _________________________ City / State / ZIP: _________________________ Preferred Contact Method: _________________________ On-Site Contact (day of): _________________________ | SITE / EQUIPMENT LOCATION Site Name / Building: _________________________ Service Address: _________________________ City / State / ZIP: _________________________ Floor / Zone / Area: _________________________ Gate Code / Access Info: _________________________ Equipment Room Location: _________________________ Building Type: _________________________ Sq. Footage Served: _________________________ |
| --- | --- |

⚙️  SECTION 3 — EQUIPMENT INVENTORY

Units Scheduled for Service

| # | Unit Tag / ID | Equipment Type | Make / Model | Tonnage / Cap. | Install Year | Location |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | AHU-01 | Air Handler |  |  |  | Mechanical Room B |
| 2 | RTU-01 | Rooftop Unit |  |  |  | Roof — Zone A |
| 3 | RTU-02 | Rooftop Unit |  |  |  | Roof — Zone B |
| 4 | CU-01 | Condensing Unit |  |  |  | Roof — NE Corner |
| 5 | FCU-01 | Fan Coil Unit |  |  |  | Floor 1 — Server Rm |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |

✅  SECTION 4 — MAINTENANCE INSPECTION CHECKLIST

Air Handling & Distribution

| Inspection / Service Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Inspect and replace air filters (record MERV rating and condition) | ☐ | ☐ | ☐ | ☐ |
| Clean evaporator coil — check for fouling, mold, or damage | ☐ | ☐ | ☐ | ☐ |
| Inspect and clean blower wheel and housing | ☐ | ☐ | ☐ | ☐ |
| Check and lubricate blower motor bearings | ☐ | ☐ | ☐ | ☐ |
| Inspect fan belts — tension, wear, and alignment | ☐ | ☐ | ☐ | ☐ |
| Verify supply and return air temperature differential (ΔT) | ☐ | ☐ | ☐ | ☐ |
| Inspect ductwork connections for leaks or separation | ☐ | ☐ | ☐ | ☐ |
| Check economizer damper operation and linkage | ☐ | ☐ | ☐ | ☐ |
| Inspect drain pan — clean, treat, and confirm proper drainage | ☐ | ☐ | ☐ | ☐ |
| Verify condensate drain line flow — flush if required | ☐ | ☐ | ☐ | ☐ |

Refrigeration System

| Inspection / Service Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Check refrigerant charge — record suction & discharge pressures | ☐ | ☐ | ☐ | ☐ |
| Inspect refrigerant lines and fittings for leaks (EPA 608 required) | ☐ | ☐ | ☐ | ☐ |
| Record superheat and subcooling values | ☐ | ☐ | ☐ | ☐ |
| Inspect TXV / EEV operation and bulb position | ☐ | ☐ | ☐ | ☐ |
| Check and clean condenser coil — note fouling level | ☐ | ☐ | ☐ | ☐ |
| Inspect condenser fan motor(s) and blade(s) for wear or damage | ☐ | ☐ | ☐ | ☐ |
| Verify high- and low-pressure safety switch operation | ☐ | ☐ | ☐ | ☐ |
| Inspect reversing valve (heat pump units) — verify switching | ☐ | ☐ | ☐ | ☐ |
| Check crankcase heater operation (scroll/reciprocating compressors) | ☐ | ☐ | ☐ | ☐ |
| Log compressor amp draw vs. nameplate RLA | ☐ | ☐ | ☐ | ☐ |

Electrical & Controls

| Inspection / Service Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Inspect all electrical connections — tighten and clean terminals | ☐ | ☐ | ☐ | ☐ |
| Check contactors and relays for pitting, arcing, or wear | ☐ | ☐ | ☐ | ☐ |
| Verify capacitor readings (µF) — compare to nameplate rating | ☐ | ☐ | ☐ | ☐ |
| Test transformer output voltage | ☐ | ☐ | ☐ | ☐ |
| Inspect control wiring for chafing, insulation damage, or corrosion | ☐ | ☐ | ☐ | ☐ |
| Verify thermostat / BAS setpoints and calibration | ☐ | ☐ | ☐ | ☐ |
| Test safeties: high-pressure, low-pressure, freeze stat, smoke detector | ☐ | ☐ | ☐ | ☐ |
| Check VFD operation and fault history (if applicable) | ☐ | ☐ | ☐ | ☐ |
| Verify economizer and demand-control ventilation logic | ☐ | ☐ | ☐ | ☐ |
| Inspect disconnect and fuse holders — verify proper sizing | ☐ | ☐ | ☐ | ☐ |

Mechanical & Structural

| Inspection / Service Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- |
| Inspect unit curb and roof penetrations for water intrusion | ☐ | ☐ | ☐ | ☐ |
| Check unit mounting hardware and vibration isolators | ☐ | ☐ | ☐ | ☐ |
| Inspect service valves — verify open/closed position and cap condition | ☐ | ☐ | ☐ | ☐ |
| Check for unusual noise, vibration, or odor during operation | ☐ | ☐ | ☐ | ☐ |
| Inspect economizer housing and weather seals | ☐ | ☐ | ☐ | ☐ |
| Review and log all measurements in equipment service history | ☐ | ☐ | ☐ | ☐ |

📊  SECTION 5 — MEASUREMENTS & PERFORMANCE READINGS

Refrigerant & Airflow Data

| Unit Tag | Suction PSI | Discharge PSI | Superheat (°F) | Subcooling (°F) | ΔT Supply / Return |
| --- | --- | --- | --- | --- | --- |
| AHU-01 |  |  |  |  |  |
| RTU-01 |  |  |  |  |  |
| RTU-02 |  |  |  |  |  |
| CU-01 |  |  |  |  |  |
| FCU-01 |  |  |  |  |  |

Electrical Readings

| Unit Tag | Voltage L1-L2 | Voltage L2-L3 | Comp. Amps | Fan Amps | Cap. µF | Status |
| --- | --- | --- | --- | --- | --- | --- |
| AHU-01 |  |  |  |  |  | ☐ OK ☐ Flag |
| RTU-01 |  |  |  |  |  | ☐ OK ☐ Flag |
| RTU-02 |  |  |  |  |  | ☐ OK ☐ Flag |
| CU-01 |  |  |  |  |  | ☐ OK ☐ Flag |
| FCU-01 |  |  |  |  |  | ☐ OK ☐ Flag |
|  |  |  |  |  |  | ☐ OK ☐ Flag |
|  |  |  |  |  |  | ☐ OK ☐ Flag |
|  |  |  |  |  |  | ☐ OK ☐ Flag |

⚠️  SECTION 6 — FINDINGS & DEFICIENCIES

Deficiency Log

| # | Unit Tag | Deficiency / Finding | Severity | Immediate Action | Recommended Repair |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  | ☐ Low ☐ Med ☐ High ☐ Critical | ☐ Yes ☐ No |  |
| 2 |  |  | ☐ Low ☐ Med ☐ High ☐ Critical | ☐ Yes ☐ No |  |
| 3 |  |  | ☐ Low ☐ Med ☐ High ☐ Critical | ☐ Yes ☐ No |  |
| 4 |  |  | ☐ Low ☐ Med ☐ High ☐ Critical | ☐ Yes ☐ No |  |
| 5 |  |  | ☐ Low ☐ Med ☐ High ☐ Critical | ☐ Yes ☐ No |  |
| 6 |  |  | ☐ Low ☐ Med ☐ High ☐ Critical | ☐ Yes ☐ No |  |
| 7 |  |  | ☐ Low ☐ Med ☐ High ☐ Critical | ☐ Yes ☐ No |  |
| 8 |  |  | ☐ Low ☐ Med ☐ High ☐ Critical | ☐ Yes ☐ No |  |

Overall System Condition

| EXCELLENT ✅ No Issues | GOOD ✔ Minor Items | FAIR ⚠ Needs Attention | POOR ⚠ Repair Required | CRITICAL ✖ Immediate Action |
| --- | --- | --- | --- | --- |
| ☐ |

Technician Field Notes

Document all observations, access issues, client conversations, parts used, and any conditions outside normal operating parameters...

🔩  SECTION 7 — PARTS & MATERIALS USED

| # | Part / Material | Part Number | Qty | Unit Cost | Total | Warranty |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  | $ | $ |  |
| 2 |  |  |  | $ | $ |  |
| 3 |  |  |  | $ | $ |  |
| 4 |  |  |  | $ | $ |  |
| 5 |  |  |  | $ | $ |  |
| 6 |  |  |  | $ | $ |  |
| 7 |  |  |  | $ | $ |  |
| 8 |  |  |  | $ | $ |  |
| 9 |  |  |  | $ | $ |  |
| 10 |  |  |  | $ | $ |  |
|  |  |  |  | PARTS TOTAL | $______________ |  |

💰  SECTION 8 — SERVICE SUMMARY & BILLING

| TIME ON SITE Arrival Time: _________________________ Departure Time: _________________________ Total Hours On Site: _________________________ Travel Time (if billed): _________________________ Number of Technicians: _________________________ Overtime / After Hours: ☐ Yes ☐ No Emergency Call: ☐ Yes ☐ No | BILLING SUMMARY Labor Hours: _________________________ Labor Rate: $ /hr Labor Subtotal: $ Parts / Materials: $ Service Agreement Credit: ($ ) Tax (if applicable): $ INVOICE TOTAL: $ |
| --- | --- |

Next Scheduled Service

| RECOMMENDED NEXT SERVICE Recommended Service Date: _________________________ Service Type: _________________________ Estimated Duration: _________________________ Units to be Serviced: _________________________ Pre-Order Parts Required: ☐ Yes ☐ No | SERVICE AGREEMENT STATUS Agreement Type: ☐ Planned Maintenance ☐ Full Coverage Agreement Expiration: _________________________ Visits Remaining: _________________________ Renewal Due: _________________________ Renewal Status: ☐ Sent ☐ Accepted ☐ Pending |
| --- | --- |

✍️  SECTION 9 — AUTHORIZATION & SIGNATURES

By signing below, the client confirms that service was performed as described and authorizes release of the work order.

| Technician Signature |  | Client / Authorized Signature |
| --- | --- | --- |
| Printed Name & Cert. # |  | Printed Name & Title |
| Date of Service |  | Date |

A copy of this completed form will be retained in the equipment service record. Any deficiencies flagged above should be addressed promptly to maintain equipment warranty and operational efficiency.